| In order to correctly assess measurement place conditions and for appropriate device selection we kindly ask you to answer the following questions as thorough as possible. | In case of need for further clarification please contact: phone: +49(0)7262/9191-0 / E-mail: info@nivus.com Please send the completed form to: Fax:+49 (0)7262/9191-999 / E-mail: info@nivus.com |
| --- | --- |
| Company name: |
| Contact person: | Phone.: |
| Street: | Fax: |
| Postal code, City: | E-Mail: |
| Place of installation: |  |
| Postal code, City: | Project: |
| Contact person: | Phone: |
| E-Mail: |  |
| 1. Measurement place sewage plant influent sewage plant discharge sludge pipeline pump station measurement of discharge from reservoir or stormwater tank with overflow to wastewater treatment plant surface water pipeline clean water pipeline turbine pipeline pressure pipeline other (please describe below): | 2. Pipe dimensions Inside diameter = mm Outside diameter = mm 3. Pipe Material plastics steel cast stainless steel earthenware pipe concrete other (please describe): additional internal lining, material: 4. Measurement set-up Distance between sensor and transmitter: approx. m Sensor Ex no Zone 2 Zone 1 Transmitter installation in Ex area no Zone 2 Zone 1 Power supply 230 V AC 110 V AC 24 V DC other: |
| (if more space required, please use separate sheet) |  |
| 5. Measurement medium • expected min. temperature: °C • expected max. temperature: °C • expected max. pressure/primary press.: bar untreated waste water or combined sewage treated waste water sludge: (please specify dry solid contents) rain water / surface water brook water / river water cooling water fresh water / drinking water process water (please describe): other (please describe), e.g. oil, kerosene etc.): fibrous material contents may tend to foaming particular pollution, e.g. chemicals, lye, acids etc. (detailed description): 6. Hydraulic conditions • expected max. flow rate: c • expected min. flow rate: _ intermittent medium flow (caused by discontinuous pump operation) volume-controlled pump 8. Measurement uncertainty desired / required measurement uncertainty: • % measurement error within range from % to % d of meas. range • other requirements: Measurement can be calibrated through: existing comparative measurement type (e.g. MID, Venturi etc.): volumetric (available backwater zone in front of or behind measurement) other (please describe): none | 7. Location of measurement place • length of undisturbed influent distance in front of measurement point: m. • length of undisturbed discharge distance behind measurement point: m. bed jump ° m. in front of meas. point behind meas. point measurement located within elbow change of profile tapering widening from mm to mm in a distance of m in front of meas. point behind meas. point distance to stop ball valve m in front of meas. point behind meas. point distance to feed from the side m in front of meas. point behind meas. point risk of sedimentation build-up no yes - sedimentation other hydraulic obstructions (please attach detailed description or drawing): |
| Date Signature/Name |  |

# Text boxes

E:\1_eng\NFP\NFP-FB-Hydraulic-en.doc